## DVS Data
DVS-Vacuum-Data-File
File Version: | 1.2
Sequence Name: | N/A
Sequence Created: | N/A
Method Name: | Takeda 30c
Method Created: | 2020-08-07 15:43:34 UTC +01:00
Method Modified: | NO
Sample Number: | 1
Sample Name: | Takeda 5A
Sample Description:
Initial Mass [mg]: | 34.2528
Raw Data File Created: | 2020-08-10 16:00:48 UTC +01:00
User Name: | User
Data Saving Interval [seconds]: | 1
Vapour: | Water 30C
Vapour Pressure [Torr]: | 31.8
Control Mode: | Dynamic
Data Points | 159448
Data Start Row | 43
First Dry Row | 43
First Post Dry Row | 17108
Data File Setting - Tare Option
Data File Setting - Dry Mass Option
Data File Setting - M0 Value
Ref. Mass Option | Mass at end of first 0.0 P/Po stage
Ref. Mass | 28.2279
ImportByDLLSeries | S2 (v1.1.0.0)
Method Stage Skipped: | NO
Method Skipped: | N/A
Method Status: | Completed
Counterweight [mg]: | 0
Slave Preheater Used: | NO
Chiller Used: | NO
Auxiliary Probe Used: | NO
Time [minutes] | Mass [mg] | Delta Mass [%] | dm/dt [%/minute] | Target Incubator Temperature [°C] | Actual Incubator Temperature [°C] | Target Preheater Temperature [°C] | Actual Preheater Temperature [°C] | Target Relative Pressure [%] | Actual Relative Pressure [%] | Target Pressure [Torr] | Actual Pressure [Torr] | Vacuum Pressure [Torr] | Low Pressure [Torr] | High Pressure [Torr] | Target Vapour Flow [sccm] | Actual Vapour Flow [sccm] | Target Gas Flow [sccm] | Actual Gas Flow [sccm] | Target Chiller Temperature [°C] | Actual Chiller Internal Temperature [°C] | Actual Chiller External Temperature [°C] | Actual Slave Preheater Temperature [°C] | dm (%) - ref |  |  | Target RH (%)/100 | Actual RH (%)/100 |  |  |  |  | Valve Position [%] | Chiller State | Auxiliary Probe Temperature [°C]
0 | 34.2482 | 99.9866 | 0.0085452 | 30 | 30 | 180 | 30.6 | 0 | 7.9977e-05 | 0 | 2.5433e-05 | 2.5433e-05 | 0 | 0 | 0 | 0 | 0 | 0.7933 | -10 | 0 | 0 | 0 | 21.3275 | 0 | 0 | 0 | 7.9977e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.1 | 34.2472 | 99.9837 | 0.017482 | 30 | 30 | 180 | 30.6 | 0 | 7.1716e-05 | 0 | 2.2806e-05 | 2.3119e-05 | 0 | 0 | 0 | 0 | 0 | 1.0434 | -10 | 0 | 0 | 0 | 21.3239 | 0 | 0 | 0 | 7.1716e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.14 | 34.2471 | 99.9834 | 0.020366 | 30 | 30 | 180 | 30.6 | 0 | 6.9052e-05 | 0 | 2.1959e-05 | 2.1959e-05 | 0 | 0 | 0 | 0 | 0 | 0.88545 | -10 | 0 | 0 | 0 | 21.3236 | 0 | 0 | 0 | 6.9052e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.19 | 34.2466 | 99.9819 | 0.0246 | 30 | 30 | 180 | 30.6 | 0 | 7.2152e-05 | 0 | 2.2944e-05 | 2.2944e-05 | 0 | 0 | 0 | 0 | 0 | 0.56951 | -10 | 0 | 0 | 0 | 21.3218 | 0 | 0 | 0 | 7.2152e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.2 | 34.2464 | 99.9813 | 0.025987 | 30 | 30 | 180 | 30.6 | 0 | 7.1825e-05 | 0 | 2.284e-05 | 2.284e-05 | 0 | 0 | 0 | 0 | 0 | 0.67482 | -10 | 0 | 0 | 0 | 21.3211 | 0 | 0 | 0 | 7.1825e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.25 | 34.2459 | 99.9799 | 0.030077 | 30 | 30 | 180 | 30.6 | 0 | 7.2371e-05 | 0 | 2.3014e-05 | 2.3014e-05 | 0 | 0 | 0 | 0 | 0 | 0.5366 | -10 | 0 | 0 | 0 | 21.3193 | 0 | 0 | 0 | 7.2371e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.29 | 34.2455 | 99.9787 | 0.032741 | 30 | 30 | 180 | 30.6 | 0 | 7.2043e-05 | 0 | 2.291e-05 | 2.291e-05 | 0 | 0 | 0 | 0 | 0 | 0.29307 | -10 | 0 | 0 | 0 | 21.3179 | 0 | 0 | 0 | 7.2043e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.32 | 34.2451 | 99.9775 | 0.034055 | 30 | 30 | 180 | 30.7 | 0 | 7.5734e-05 | 0 | 2.4083e-05 | 2.4083e-05 | 0 | 0 | 0 | 0 | 0 | 0.47078 | -10 | 0 | 0 | 0 | 21.3165 | 0 | 0 | 0 | 7.5734e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.34 | 34.2449 | 99.9769 | 0.035356 | 30 | 30 | 180 | 30.7 | 0 | 7.5049e-05 | 0 | 2.3866e-05 | 2.3866e-05 | 0 | 0 | 0 | 0 | 0 | 0.50369 | -10 | 0 | 0 | 0 | 21.3158 | 0 | 0 | 0 | 7.5049e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
WARNING | Kinetics data has been cut to keep file size low

## Iso Report
[8 empty] | 1 | 17 | RVP_=_PP
15
DVS Isotherm Analysis Report
0
| Date: | UTC 16:00:48 2020-0 | [5 empty] | 21.3438
| Time: | +01:0
| File: | C:\Users\User\Documents\analysis\PI\Takeda 5A water 3 30c 05-08-2020 16-22-40.xlsb
| Meth: | Takeda 30c
| Sample: | Takeda 5A
| Temp: | 30.0 °C
| MRef: | 28.2279 from Mass at end of first 0.0 P/Po stage
|  | Target |  | Change In Mass (%) - ref
|  | % P/Po | Sorption | Desorption | Hysteresis
| Cycle 1 | 0 | 0 | 0.7844
|  | 10 | 0.47506 | 0.8024 | 0.32734
|  | 20 | 0.80984 | 1.1907 | 0.38083
|  | 30 | 1.2923 | 1.7221 | 0.42972
|  | 35 | 1.7025 | 2.2217 | 0.5192
|  | 40 | 2.23 | 2.8969 | 0.66693
|  | 43 |  | 3.6065
|  | 45 | 3.27
|  | 47 |  | 5.2319
|  | 50 | 4.9304 | 7.1295 | 2.199
|  | 55 | 6.8843 | 11.0159 | 4.1316
|  | 60 | 9.6667 | 15.6436 | 5.9769
|  | 65 | 12.9908
|  | 70 | 16.0992 | 19.7641 | 3.6649
|  | 75 | 18.5012
|  | 80 | 20.1353 | 21.2358 | 1.1005
|  | 90 | 22.2668 | 22.2668
DVS from SMS - World leader in Sorption Science | [5 empty] | © Surface Measurement Systems Ltd 1996-2018