## Iso Report
[10 empty] | 1 | 22 | RVP_=_PP
15
DVS Isotherm Analysis Report
0
| Date: | UTC 16:23:44 2020-0 | [7 empty] | 2.6805
| Time: | +01:0
| File: | C:\Users\User\Documents\analysis\PI\13X Zeo water impr 2 30c 30-07-2020 15-52-52.xlsb
| Meth: | Zeo water impr 30c
| Sample: | 13X
| Temp: | 30.0 °C
| MRef: | 31.7852 from Mass at end of first 0.0 P/Po stage
|  | Target | Actual | Sorp Mass | Actual | Desorp Mass
|  | % P/Po | % P/Po | Change (%) | % P/Po | Change (%) | Hysteresis
| Cycle 1 | 0 | 6.7533e-06 | 0 | 9.8768e-05
|  | 0.1 | 0.10015 | 12.7147
|  | 0.2 | 0.20168 | 14.0486
|  | 0.3 | 0.30404 | 14.6118
|  | 0.4 | 0.40454 | 14.9343
|  | 0.5 | 0.50359 | 15.1801
|  | 0.6 | 0.60202 | 15.3846
|  | 0.7 | 0.70273 | 15.555
|  | 0.8 | 0.80508 | 15.7178
|  | 0.9 | 0.90682 | 15.8591
|  | 1 | 1.0055 | 15.9908 | 1.0063 | 15.9864 | -0.0044046
|  | 2.5 | 2.5059 | 17.4043
|  | 3 |  |  | 3.0047 | 17.7848
|  | 5 | 5.0059 | 18.4451 | 5.0047 | 18.6268 | 0.18172
|  | 7 |  |  | 7.0035 | 19.202
|  | 7.5 | 7.5043 | 19.0686
|  | 10 | 10.0058 | 19.5171 | 10.0037 | 19.8165 | 0.29938
|  | 15 | 15.0063 | 20.1537
|  | 20 | 20.004 | 20.6065 | 20.0046 | 20.9472 | 0.34072
|  | 40 | 39.3373 | 21.809 | 39.9783 | 22.1192 | 0.31027
|  | 60 | 60.6363 | 22.6193 | 59.9125 | 22.8758 | 0.25653
|  | 80 | 80.405 | 23.9586 | 80.405 | 23.9586
DVS from SMS - World leader in Sorption Science | [7 empty] | © Surface Measurement Systems Ltd 1996-2018

## DVS Data
DVS-Vacuum-Data-File
File Version: | 1.2
Sequence Name: | N/A
Sequence Created: | N/A
Method Name: | Zeo water impr 30c
Method Created: | 2020-08-03 16:22:36 UTC +01:00
Method Modified: | NO
Sample Number: | 1
Sample Name: | 13X
Sample Description:
Initial Mass [mg]: | 32.6372
Raw Data File Created: | 2020-08-03 16:23:44 UTC +01:00
User Name: | User
Data Saving Interval [seconds]: | 2
Vapour: | Water 30C
Vapour Pressure [Torr]: | 31.8
Control Mode: | Dynamic
Data Points | 73125
Data Start Row | 43
First Dry Row | 43
First Post Dry Row | 11699
Data File Setting - Tare Option
Data File Setting - Dry Mass Option
Data File Setting - M0 Value
Ref. Mass Option | Mass at end of first 0.0 P/Po stage
Ref. Mass | 31.7852
ImportByDLLSeries | S2 (v1.1.0.0)
Method Stage Skipped: | NO
Method Skipped: | N/A
Method Status: | Completed
Counterweight [mg]: | 0
Slave Preheater Used: | NO
Chiller Used: | NO
Auxiliary Probe Used: | NO
Time [minutes] | Mass [mg] | Delta Mass [%] | dm/dt [%/minute] | Target Incubator Temperature [°C] | Actual Incubator Temperature [°C] | Target Preheater Temperature [°C] | Actual Preheater Temperature [°C] | Target Relative Pressure [%] | Actual Relative Pressure [%] | Target Pressure [Torr] | Actual Pressure [Torr] | Vacuum Pressure [Torr] | Low Pressure [Torr] | High Pressure [Torr] | Target Vapour Flow [sccm] | Actual Vapour Flow [sccm] | Target Gas Flow [sccm] | Actual Gas Flow [sccm] | Target Chiller Temperature [°C] | Actual Chiller Internal Temperature [°C] | Actual Chiller External Temperature [°C] | Actual Slave Preheater Temperature [°C] | dm (%) - ref |  |  | Target RH (%)/100 | Actual RH (%)/100 |  |  |  |  | Valve Position [%] | Chiller State | Auxiliary Probe Temperature [°C]
0 | 35.6909 | 109.3565 | 0.0012243 | 30 | 30 | 100 | 30.6 | 0 | 0.016014 | 0 | 0.0050924 | 0.0050924 | 0.00094149 | 0 | 0 | 0 | 0 | 1.0171 | -10 | 0 | 0 | 0 | 12.2878 | 0 | 0 | 0 | 0.00016014 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.03 | 35.691 | 109.3568 | 0.0012435 | 30 | 30 | 100 | 30.6 | 0 | 0.016014 | 0 | 0.0050924 | 0.0050924 | 0.00094149 | 0 | 0 | 0 | 0 | 1.0171 | -10 | 0 | 0 | 0 | 12.2881 | 0 | 0 | 0 | 0.00016014 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.07 | 35.6912 | 109.3574 | 0.0012621 | 30 | 30 | 100 | 30.6 | 0 | 0.017326 | 0 | 0.0055095 | 0.0055095 | 0.00028391 | 0 | 0 | 0 | 0 | 0.8657 | -10 | 0 | 0 | 0 | 12.2887 | 0 | 0 | 0 | 0.00017326 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.1 | 35.6909 | 109.3565 | 0.0012801 | 30 | 30 | 100 | 30.6 | 0 | 0.01599 | 0 | 0.0050847 | 0.005249 | 0.0006127 | 0 | 0 | 0 | 0 | 0.30623 | -10 | 0 | 0 | 0 | 12.2878 | 0 | 0 | 0 | 0.0001599 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.13 | 35.6911 | 109.3571 | 0.0012975 | 30 | 30 | 100 | 30.6 | 0 | 0.015678 | 0 | 0.0049856 | 0.0052569 | 0 | 0 | 0 | 0 | 0 | 0.33256 | -10 | 0 | 0 | 0 | 12.2884 | 0 | 0 | 0 | 0.00015678 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.17 | 35.6905 | 109.3553 | 0.0013047 | 30 | 30 | 100 | 30.6 | 0 | 0.014273 | 0 | 0.0045388 | 0.0045388 | 0.00028391 | 0 | 0 | 0 | 0 | 0.069277 | -10 | 0 | 0 | 0 | 12.2865 | 0 | 0 | 0 | 0.00014273 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.2 | 35.6901 | 109.354 | 0.0013026 | 30 | 30 | 100 | 30.6 | 0 | 0.010868 | 0 | 0.0034561 | 0.0034561 | 0.0019279 | 0.094149 | 0 | 0 | 0 | 0.22066 | -10 | 0 | 0 | 0 | 12.2853 | 0 | 0 | 0 | 0.00010868 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.23 | 35.6899 | 109.3534 | 0.0012933 | 30 | 30 | 100 | 30.7 | 0 | 0.0077186 | 0 | 0.0024545 | 0.0024545 | 0 | 0 | 0 | 0 | 0 | 0.609 | -10 | 0 | 0 | 0 | 12.2846 | 0 | 0 | 0 | 7.7186e-05 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.27 | 35.6892 | 109.3513 | 0.001279 | 30 | 30 | 100 | 30.7 | 0 | 0.0061971 | 0 | 0.0019707 | 0.0019707 | 0 | 0 | 0 | 0 | 0 | 0.51027 | -10 | 0 | 0 | 0 | 12.2824 | 0 | 0 | 0 | 6.1971e-05 | 0 | 0 | 0 | 0 | 100 | ON | 0
WARNING | Kinetics data has been cut to keep file size low